Impedance Calculator

Impedance is a measure of the opposition that a circuit presents to the flow of alternating current (AC). It is measured in ohms (Ω) and is calculated using the following formula:

Z = √(R² + X²)

where Z is the impedance in ohms, R is the resistance in ohms, and X is the reactance in ohms.

Reactance is a measure of the opposition that a circuit presents to the flow of AC due to capacitance or inductance, and is calculated using the following formulas:

For capacitive reactance:

Xc = 1/(2πfC)

where Xc is the capacitive reactance in ohms, f is the frequency in hertz (Hz), and C is the capacitance in farads (F).

For inductive reactance:

Xl = 2πfL

where Xl is the inductive reactance in ohms, f is the frequency in hertz (Hz), and L is the inductance in henries (H).

Once you have calculated the values of R and X, you can substitute them into the formula for impedance to calculate Z.